## Calibartion
Company Name : RISK ASSESSMENT Doc.No: Rev.No- 0 Date : Calibartion
RISK ASSESSMENT WORK SHEET Calibration
Risk Assessment Matrix
Severity |  | Probability |  |  |  | Probability Criteria |  |  | Severity Criteria |  |  | Outcome Decision Critieria
|  | 1 | 2 | 3 | 3 | Failure of calibration status is likely to happen, often, frequent |  | 3 | Failure of calibration status is likely to lead to an immediate / grave health impact, recall or regulatory issue |  |  | High | Calibrate at a frequent level -Weekly calibration checks against certified standard
| 1 | 1 | 2 | 3
| 2 | 2 | 4 | 6
| 3 | 3 | 6 | 9 | 2 | Failure of calibration status can happen, but not frequent |  | 2 | Failure of calibration status is unlikely to pose an immediate / grave risk to the consumer but repeated failure over time may |  |  | Medium | Calibrate at a reduced level - monthly calibration checks against certified standard
[5 empty] | 1 | Failure of calibration status is unlikely to happen, rare, remote |  | 1 | Failure of calibration status is unlikely to pose an immediate / grave risk to the consumer. |  |  | Low | Calibrate at a minimum level - as appropriate but a minimum of annual certification
Risk Assessment
Point / Activity / Program |  |  |  | Risk Description |  |  | Probability | Severity | Risk Score | Risk | Outcome of Risk Assessment / Decisions
Jenway temperature probe |  |  |  | Thermometer used for the checking of core product temperatures in bulk meat products |  |  | 3 | 3 | 9 | High | Calibrate at a frequent level - daily calibration checks against certified standard. Also validation of the oven on an annual basis
Sensor Tech themometer |  |  |  | Used to monitor the ambien temperature of meat packing room |  |  | 2 | 2 | 4 |  | Calibrate at a reduced level - monthly calibration checks against certified standard
Mettler Balance AX234 |  |  |  | Device used to weigh packaging waste |  |  | 1 | 2 | 2 |  | Calibrate at a minimum level - as appropriate but a minimum of annual certification